PACIFIC MARINE & INDUSTRIAL®

P.O. Box 70520 ◊ Richmond, California, United States ◊ 94807-0520

Phone: 510-233-2310 ◊ Fax: 510-233-2322 ◊ Web: www.PacificMarine.net

# Information Needed

# for Engine Room Fire Dampers

1.  Vessel Name? (or facility name)

2.  Is this new installation or retrofit?

- If retrofit, please describe problems with existing dampers

3.  Ship to location for dampers? (for shipping cost estimate)

4.  Where are the fire dampers installed:

- port or starboard side

- forward or aft facing

- etc

5.  How will fire dampers close?
	- Electric

- Pneumatic

6.  What are inside (or outside) dimensions and the quantity of each damper needed?

- Maximum dimensions 1500mm width x 1500mm height

- Minimum inside dimension available is 100mm x 100mm

7.  Dampers have a standard 40mm flange all around and are made of 316 stainless steel (both frame and blades).  Is this acceptable?

8.  What is the damper depth desired?

- 150mm (standard and minimum)

- 100mm

- 210mm

- 300mm

9.  Do you need the dampers to be classified by a society?

- if so please give society: ABS, GL, DNV Etc.